SELF Inspection for Performance Bond Release

Rule 5 - Sediment & Erosion Control

INSTRUCTIONS: Please conduct the self inspection and address ALL areas of the form.  Any items form the Check List that are incomplete or not addressed will slow or stop the application process.

Date of Inspection:

| Name of Project: |  | Section #: |  |
| --- | --- | --- | --- |
| Project Address / Location: |  | Stormwater Permit #: |  |
| Contact Name: |  | Contact Phone: Contact E-mail: |  |
| Developer / Owner Name: (Name on NOI) |  | Office Phone: |  |
| Developer / Owner Address: City, St. Zip |  | Office Fax: |  |

| Self Inspection Check List: |  |  |  |
| --- | --- | --- | --- |
|  | Items to be inspected: | No / Fail - Notes | Yes / Pass |
|  | ALL land disturbing activities completed and 100% stabilized? a) Permanent seeding/stand of vegetation = 1 year old and meets the 70 - 80% coverage rule. |  |  |
|  | Have all temporary measures been removed and the accumulated sediment been removed and or re-graded to restore proper flow of water? |  |  |
|  | Are open swales draining well as designed with no signs of standing water? |  |  |
|  | Are open swales and high flow areas free form signs of erosion or the need of repair /maintenance? |  |  |
|  | Are all storm structures and all storm pipe(s) free from any sediment, silt or mud? |  |  |
|  | Are pipe outfall points at pond/stream in good condition? (Adequate Rip-Rap area)? |  |  |
|  | Is the same pipe outfall area free from accumulated silt, sediment deposits? |  |  |
|  | Permanent Stormwater Quality measures are implemented and fully operational... clean? |  |  |
|  | Structural devices / BMP’s are operational, and maintained? |  |  |
|  | Other: |  |  |
|  | Other: |  |  |
|  | Other: |  |  |
|  | Other: |  |  |

By signing below, I certify that all information submitted is accurate and truthful to the best of my knowledge and ability.

| Company performing the Inspection: |  |  |
| --- | --- | --- |
| Inspector Signature: |  |  |
| Inspector Name Printed: |  |  |
| Inspection Completion Date: |  |  |
| Final Conclusion Pass / Fail: | Fail | Pass |